## GENERAL-BASSA
CODE PRODUIT | PRODUIT | QTE
200000016 | PQC PIGTAIL PLATE GALVA ANCHOR HOOK(POR) | 807
200000017 | CROCHET D'ANCRG GALVA BQC 12-250 (BOR) | 665
200000019 | HOOK BOR L350 BOLT ANCHOR | 2
200000020 | GALVA ANCHOR HOOK TQC 12-150 (SOR) | 95000
200000028 | PIG TAIL Q 16 L | 302201
200000029 | LV INSLTN PIERCING FTG (PI) W/ 70/35mm² | 4
200000037 | PSG 120 SUSPENSION CLAMP | 9825
200000042 | ARMORED LV UNDERGROUND Cu CABLE 2X16mm² | 37
200000050 | PIGTAIL HOOK 14X260mm² WITH 2 NUTS | 200
200000054 | SR_LV DISTRIBUTION BX FOR UNDERGROUN N/W | 23
200000068 | LANTERN ECLATEC TYPE MISO-80- | 85
200000080 | ANCHOR CONSOLE | 248
200000083 | FERRURES DE TETE FTXY 1/5 | 3105
200000084 | ANCHOR HARROW | 50
200000086 | PLAT DE FER DE MONTANT | 13031
200000090 | SUPPORT UNIVERSEL | 617
200000111 | SR_PROT CEL FLKIT M24-PF 200A FUS SW O/P | 6
200000112 | SR_FLUOKIT M36 ROTARY SWITCH CEL 400A36K | 2
200000118 | SR_REDUCED URBAN SWBOAR BT 8OUTLETS1200A | 243
200000140 | SR_PROT CELL FUSE SW SM6PM12 200A 24KV | 11
200000150 | SR_SINGLE-PHASE 30KV MV CIRCUIT BREAKER | 66
200000159 | SR_TOP OF POLE CIRCUIT BREAKER 100KVA | 14
200000175 | SR_160KVA TOP POLE CIRCUIT BREAKER | 16
200000188 | SR_RV6 400A 3-PHASE DISCONNECTOR SWITCH2 | 29
200000191 | SR_SWITCH DISCONNECTOR 36KV 400A | 43
200000192 | SR_SWITCH DISCONNECTOR 200A 36KV | 17
200000207 | SR_PMR 15KV CIRCUIT BREAKER | 4
200000208 | SR_PMR 30KV CIRCUIT BREAKER | 2
200000209 | SR_1-DISECT C/B CEL SM6-DM1-A 400A 24KV | 5
200000222 | SR_SM6-DM2 24KV DOUBLE DISCONNEC C/B CEL | 5
200000224 | SR_SM6-CM 24KV POTENTIAL TRANSFORMER CEL | 3
200000226 | SR_ARRIVAL SWITCH CELL SM6-IM 630A 36KV | 2
200000227 | SR_XFO PROTECTION CELL SM6-QM 630A 36KV | 16
200000229 | SR_SM6-DM1 630A 36KV 1-DISECTION C/B CEL | 1
200000241 | SR_SM6-CM 50A 36KV PREMIUM COUNTING CELL | 10
200000247 | SR_MTRIZED PROT CEL SM6-IM 400A24K RMU-F | 1
200000250 | SR_OUTDOOR LV PANEL 400KVA | 3
200000251 | SR_EXTERIOR LV PANEL 630KVA | 5
200000254 | DM1 - S 24 KV BREAKER CABINETS | 11
200000255 | SR_DM2 30 KV CIRCUIT BREAKER CELLS | 6
200000256 | SR_15 KV GBC-B MEASUREMENT CELL | 16
200000257 | SR_CIRCUIT BREAKER CELLS 30KV/630A | 2
200000261 | SR_200A 15KV SHIELDED XFMR PROTECT CELL | 44
200000271 | SR_CMPCT 24KV2I+P CELL W/REMOTE CTRL OPT | 19
200000272 | SR_CMPCT 24KV3I+P CELL W/REMOTE CTRL OPT | 117
200000282 | VAC BRKR ARRIVAL CELL 15KV 1250A 20KA | 2
200000290 | TT CELL CIRCUIT BREAKER 24 KV 20KA | 1
200000294 | VACUM COUPLING BRKER CELL 15KV1250A 20KA | 1
200000295 | SR_BPN 15kV 3Io =1000 A | 6
200000300 | TSA O/P CELL W/ VAC CUTOUT 15KV630A 20KA | 3
200000311 | ACCS BAT CELLS CPLXG C/B 15KV 20KA | 2
200000738 | FALSE CUT GRID 240mm² | 14
200000795 | REGUL POWERED BATT CHARGER 125V-100A | 4
200000801 | AC 380/220V AUXILIARY CABINET | 11
200000802 | AUXILIARY CABINET DC 127V | 11
200000803 | BATTERY BANK 127V 280 AH | 8
200000804 | SR_380VAC/127V DC BAT RECTIFIER/CHARGER | 10
200000810 | BATTERY PACKS 48 V AC 280 AH | 1
200000811 | BATTERY PACKS 24 V AC 280 AH | 3
200000817 | SR_MDL CNCRT WEL NOZL D=60CM 1M D /COVER | 133
200000819 | LV UNDGROUND ALU CAB 3X150+70mm² H1XDVAS | 7992
200000820 | LV UNDGROUND ALU CAB 3X240+95mm² H1XDVAS | 305
200000824 | TWISTED ALU LV CABLE 4X25mm² | 38112
200000825 | TWISTED ALU LV CABLE 2X16mm² | 222283
200000826 | TWISTED ALU LV CABLE 4X16mm² | 5000
200000827 | PRE-ASSEMB ALU LV CAB 3X5O+54.6+2X16mm² | 1300
200000828 | PRE-ASSEMB ALU LV CAB 3X7O+54.6+2X16mm² | 3000
200000896 | SR_TRANSFORMER H59 630KVA 15kV BE | 7
200000899 | SR_TRANSFORMER H59 400KVA 15kV BE | 14
200000901 | SR_TRANSFORMER H61 100KVA 15KV BP | 1
200000902 | SR_TRANSFORMER H61 100KVA 30KV BP | 4
200000906 | SR_TRANSFORMER H61 50KVA 15KV BP | 5
200000907 | SR_TRANSFORMER H61 50KVA 30KV BP | 4
200000911 | SR_TRANSFORMER H61 160KVA 30KV BP | 1
200000912 | SR_XFO MONOPHASE 25KVA 17,32KV/231V | 1
200000915 | SR_TRANSFORMER H61 160KVA 15KV BP | 1
200000919 | SR_TRANSFORMER H59 250KVA 30KV BP | 1
200000924 | TRANSFORMER SUPPORT BRACKET | 11
200000927 | SR_POST IN KIT | 2
200000929 | AUTOTRANSFORMERS 15/30 KV 10 MVA | 2
200000930 | AUTOTRANSFORMERS 15/30 KV 20 MVA | 2
200000931 | AUTOTRANSFORMERS 15/30 KV 30 MVA | 2
200000935 | GALVANIZED BOLT 12X100mm | 164
200000936 | GALVANIZED BOLT 12X180mm | 479
200000937 | GALVANIZED BOLT 12X200mm | 128
200000938 | GALVANIZED BOLT 12X350mm | 168
200000939 | GALVANIZED BOLT 12X400mm | 18
200000940 | GALVANIZED BOLT 16X400mm | 120
200000945 | GALVANIZED BOLT 14X250mm WITH NUT | 3414
200000947 | GALVANIZED BOLT 14X300mm WITH NUT | 5781
200000948 | GALVANIZED BOLT 14X350mm WITH NUT | 1685
200000951 | GALVANIZED BOLT 14X450mm WITH NUT | 2126
200000952 | GALVANIZED BOLT 14X500mm WITH NUT | 31
200000953 | GALVANIZED BOLT 16X300mm WITH NUT | 115
200000954 | GALVANIZED BOLT 16X500mm WITH NUT | 35
200000958 | INCLINED ARM FOR BIS 70 LINE | 65
200000986 | FERRURE DE TETE POUR ISOLATEUR RIGIDE | 117642
200000987 | REINFORCED ROD TR-25/285/140 | 454
200001020 | SR_TRANSFORMER PROTECT CELL SM6-PM 36KV | 7
200001022 | SR_(IACM) CMPLT IN=IC=200A 36 KV | 1
200001737 | SR_TRANSFORMER H59 630KVA 15kV BP | 1
200001767 | GBC-B CELL 30 KV | 2
200001771 | CIRC BREAK CELL GEN PRO CBL DM1S400A30KV | 3
200001796 | CIRCBREAKER SCHNEIDER 630A 17.5KV (LF1) | 1
200001797 | CIRC BREAKER SCHNEIDER 630A 17.5KV (SF1) | 1
200001811 | BAT CHARGER RECTIFIER 100A-380VAC/127VDC | 2
201000003 | SR_SET OF 3 TRIGGERS 50KVA BREAKER | 42
201000005 | SR_SET OF 3 TRIGGERS 160KVA BREAKER | 71
201000011 | SR_SINGLE PHASE 15KV CIRCUIT BREAKER | 181
201000018 | 3 SHOT FUSE 100A | 15
201000031 | FRT CB SF1 FI 17.5KV-12.5 KA/3S630A-COIL | 3
201000035 | COPPER LV CABLE 1X240mm² U1000 R02V | 5
201000037 | LV Cu CAB INSULATED WITH PCV 25mm² U5OOV | 8100
201000038 | MEDIUM BLUE FLEX LV CAB 1X16 mm² H07V-K. | 11700
201000043 | MV UNDGR ALU CAB 3X240mm²12/20KV HN33S23 | 5208
201000052 | CABLE BT CUIVRE ARME 4x25mm² | 1679
201000054 | LV TWISTED OVRHD CAB 3X150+70+2X16 mm² | 21325
201000082 | SR_MV CRNT XFMR50/5 10KV N/W 4PREFAB CEL | 3
201000084 | SR_MV CRNT XFMR 50/5 15KVN/W 4PREFAB CEL | 9
201000085 | SR_MV CRNT XFMR 50/5 30KVN/W 4PREFAB CEL | 9
201000086 | SR_PREFAB CEL MV XFMR W/ 1POLE INSUL 10K | 6
201000094 | SR_TSA 15/0.4kV 160kVA | 9
201000095 | SR_TSA 30/0.4kV 160kVA | 1
201000899 | SR_PREFAB CEL MV CRNT XFMR 100/5 15KVN/W | 9
201000908 | CIRCT BREAKER 30 KV 630A TYPE SF1 FIXED | 10
201000920 | SR_PREFAB CEL MV CRNT XFMR100/5 10KV N/W | 3
201000950 | Alu cable 1*630mm² - 36kV | 630
202000042 | SR_ELBOW SOCKETS 24KV TYPE K154 L | 82
202000050 | ARMAMENT VAULT TABLECLOTH 140 75X | 48
202000058 | METAL ARMOR HN-66-S-50LINE SUSPENS° | 281
202000059 | LNE ANCR MTL RENFT NA4X2000D/HN-66-S-50 | 294
202000060 | REINF SUSPENDED ARCH TABLECLOTH 70X70X7 | 30
202000063 | CROSSED DBLE ANCHOR HARROW 80X80X8Ec1500 | 5
202000116 | TREATED WOODEN POLE 9 m ""D""" | 0
202000180 | POLESAVER SLEEVE Ø 66 WOODEN POLE 8 m | 1
202000182 | POLESAVER SLEEVE Ø 101 WOODEN POLE 11 m | 11466
202000183 | POLESAVER SLEEVE Ø 104 WOODEN POLE 12 m | 542
202000184 | POLESAVER APPLICATION TORCH KIT | 53
202000185 | POLESAVER FIRE FABRIC ROLLS | 150
202000262 | SINGLE RIGID VAULT NVR1 | 147
202000430 | METALIC SUSPENDED VAULT LAYER | 156
302000202 | CARNET BON DE TRANSFERT S463B | 0
601000003 | PVC HOSES 32MM | 20
601000004 | PVC HOSES 25MM | 7
601000088 | SR_30KV INVERTER CELL | 1
800000010 | THREADED ROD 14X250mm | 2340
800000011 | THREADED ROD 14X350mm | 6
800000012 | THREADED ROD 14X450mm | 4526
800000013 | THREADED ROD 14X650mm | 3000
800000032 | SUSPENDED VAULT TABLECLOTH 140 | 40
800002371 | RED PLASTIC MESH P/ CA | 21000
801000175 | RED BOUNDARY TAPE | 0
801000391 | FORSOND EARTH STICK 2m Cu 254 micron | 487
901000001 | ALIGNMENT ARMAMENT 4 PRE-ASSEMBLED CABLE | 30
901000035 | LIGHTNING ARRESTER 30KV | 798
901000058 | DOUBLE BLOCK 60A 116 REF | 2
901000059 | DOUBLE BLOCK BED 116 OF 2 | 4815
901000062 | CALIPER E 14 40 WITH SHOE | 50
901000063 | ÉTRIER E 14 70 | 8240
901000064 | HEAD FITTING 1/3 | 2115
901000073 | ALIGNMENT CLAMP MT 2 Ø 54mm | 3381
901000075 | PINCE D'ALIGNEMENT BT PLASTIFIE SP 814D | 2
901000076 | ANCHOR CLAMP MT 5 Ø 54mm | 60337
901000078 | PINCE ANCRAGE BT PLASTIFIE AP 814D | 701
901000083 | PR 35 PLATE | 18726
901000085 | RC3 EXTENSION WITH 14X25mm SHAFT | 1963
901000096 | CABLE BT SOUPLE CUIVRE 2,5mm² GRIS H07UK | 1000
901000109 | SR_MV/LV METER CABINET | 120
901000116 | MECH PROT AIR2UNDRGRD RISING MALT GPC35 | 3080
901000121 | ACCS END PLATES ND LEVER 4 SM6 CELL CTRL | 40
901000123 | clevis extension 70 x 30mm | 26
901000125 | SUPPORT PARAFOUDRE ACIER EN FER U 60 | 1
901000126 | TROLLEYS 25/10 | 113
901000128 | MECH PROT 4 LV UNDGRND AIR LIFT IN ALU | 334
901000135 | COMMAND CABINET FOR 6 HALF-OARS | 1
901000136 | COMMAND CABINET FOR 4 HALF-OARS | 10
901000137 | GENERAL SERVICE CABINET | 10
901000141 | MV ALMELEC BARE CABLE 148.1mm² | 6913
901000154 | BROWN/BROWN FLEX LV CAB 1X16 mm² H07V-K. | 3500
901000160 | ALMELEC CABLE 366 mm² (ASTER) | 68650
901000161 | ALMELEC CABLE 570 mm² (ASTER) | 1500
901000163 | ALU-STEEL GUARD CABLE 59.7 mm² | 11700
901000164 | SHIELDED CABLE 4X4mm² | 192
901000168 | BALL SOCKET BS 11 | 9989
901000172 | HEAD CONSOLE | 1200
901000175 | CHAIN ELEMENT 1508T 15KV | 15437
901000176 | CHAIN ELEMENT F40 E110 30KV | 20834
901000178 | 15KV INSULATOR P10086 | 377
901000186 | VHT 30KV RIGID INSULATOR | 1386
901000191 | RIGID INSULATOR VHT 24KV | 9036
901000195 | BALL SOCKET AND GROMMET ( BS190+06101) | 265
901000197 | AGAINST TIGHTENING PLATE 12X8cm | 3280
901000198 | GALVANIZED PLYWOOD PS55 | 2017
901000199 | GALVANIZED PLYWOOD PS70 | 3400
901000202 | TROLLEY 80/10 | 60
901000472 | ALU CONDUCTOR SUSPENSION CLAMP 6D4750 | 31
901000529 | CALIPER E20-90 S | 1774
901000536 | GROUNDING BLOCK 2058-2 | 304
901000540 | DERIVATION TERMINAL CD 94-11 | 572
901000710 | END SHEETS FOR SM6 36KV CELL | 1
903000118 | SR_REFURBISHED TRANSFORMER H61 160KVA30K | 1
903000121 | SR_TRANSFORMER REFURBISHED SINGLE PHASE | 1
903000129 | SR_XFO REFURBISHED H59 400KVA 15KV BE | 1
903000130 | SR_REFURBISHED TRANSFORMER H61 50KVA15KV | 10
903000131 | SR_REFURBISHED TRANSFORMER H61 100KVA15K | 25
903000134 | SR_XFO REFURBISHED H59 400KVA 15KV BP | 1
903000135 | SR_XFO REFURBISHED H59 100KVA 15KV BE | 2
903000160 | SR_REFURBISHED TRANSFO H59 630KVA15KV BP | 2